Appendix 3

# Boiler Design Documents Submitted by Applicants

| No | Name of Documents |  | Category | Document No. |
| --- | --- | --- | --- | --- |
| 1 | Description Documents of Design | List for submitted documents | B |  |
| 2 |  | Design specification for the boiler | B |  |
| 3 |  | Installation and operation instruction for the boiler | B |  |
| 4 | Design Drawing | General drawing for the boiler | A |  |
| 5 |  | Boiler proper drawing | A |  |
| 6 |  | Drawings for assembly unit (drum, superheater economizer, etc.) | A |  |
| 7 |  | Drawings of main pressure parts | A |  |
| 8 |  | Drawings of main part for supporting and suspending | B |  |
| 9 |  | Drawings for the piping system | A |  |
| 10 |  | Drawing for medium flowing Note: For the boilers with rated steam pressure of 9.8MPa and above, the steam and water heat treatment drawings should be provided. | B |  |
| 11 |  | Arrangement drawing for safety appurtenances or instruments | A |  |
| 12 |  | Drawings of main system for supporting and suspending | B |  |
| 13 |  | Thermal expansion system drawings Note: Only for separated boilers. | A |  |
| 14 |  | System drawing of thermal insulation | A |  |
| 15 | Design Documents | Strength calculation sheets of pressure parts or summary of calculations | A |  |
| 16 |  | Relieving capacity calculation sheet of safety valve or summary of calculations | A |  |
| 17 |  | Set value of all safetyguard devices | B |  |
| 18 |  | Strength calculation sheets or summary for main parts of supporting and suspending | B |  |
| 19 |  | Water circulation calculation sheet (including resistance of water and/or steam flow) or summary of calculations (except shell type boiler in nature circulation) Note: The organic heat boilers should calculate flow resistance of mediums. | B |  |
| 20 |  | Thermal calculation sheet or summary of calculations Note: For the boilers with rated steam pressure of 3.8MPa and above. | B |  |
| 21 |  | Super-heater tube wall temperature calculation sheet or summary of calculation Note: For the boilers with rated steam pressure of 3.8MPa and above and organic fluid boiler with rated power more than 7MW. | B |  |
| 22 |  | Draft resistance calculation sheet or summary of calculations Note: For the boilers with rated steam pressure of 3.8MPa and above | B |  |
| 23 |  | Thermal expansion values calculation sheet or summary of calculations Note: For the boilers with rated steam pressure of 3.8MPa and above | B |  |
| 24 |  | Re-heater tube wall temperature calculation sheet or summary of calculations Note: For the boilers with rated steam pressure of 9.8MPa and above | B |  |

Note: 1. The documents of category A should be appraised, the documents of category B are only for supply of date and not for appraisal.

2. The category A of design documents in the Appendix 3 should be submitted to International Division of CSEI for two copies, one will be returned to Applicant, the other one should be kept by CSEI for registration. The category B is one copy only.